## Slide 1
HQ Field Quality Measurements
11May2015
J. DiMarco, G. Chlachidze, T. Holik, G. Sabbi, S. Stoynev, X. Wang

## Slide 2
Magnetic Measurements System at FNAL
Printed Circuit Board (PCB) Probe - 1Hz Rotation Rate
Harmonics compared to expected fall-off from Biot-Savart
200mm and 100mm long probes sampled simultaneously
Resolution ~0.002 units at probe radius (about 0.3 units at R=40mm )
Probe radius 23.5mm (limited by warm bore size).
Harmonics reported at R=40mm

## Slide 3
For QXF, similar probe is being developed – WBT will be upgraded so that probe can rotate at reference radius
New header can accommodate larger WBT

## Slide 4
14.6kA Harmonics in the Straight Section
Normal
Skew
Harmonics s.d. limits generated from coil positioning errors achievable during fabrication (30 microns) (not actual requirements).
Allowed harmonics:
systematics from ROXIE calc.
s.d. are 4 times coil fab. limit.
HQ01-03 comparison

## Slide 5
Harmonics in the Straight Section 14.6kA, 100mm probe
a3, b3
HQ03a amplitude and variation about a factor 2 smaller than HQ02
HQ02
HQ03a

## Slide 6
HQ02
Harmonics in the Straight Section, 14.6kA, 100mm probe
a4, b4
a4 of HQ03a is significantly larger than HQ02: -4 units
HQ03a

## Slide 7
There is an ongoing effort to correlate HQ02 results to conductor locations obtained from magnet cross section (“cookie”) data
Example of proposed location of a cut

## Slide 8
Warm – Cold Correlation (10A, 300K vs 14.6kA, 1.9K)
Larger changes warm/cold in HQ03 compared to HQ02: Db3 as large as ~3 units
HQ02
HQ03

## Slide 9
Magnetic shims are added for second TC of HQ03 – testing coming up summer 2015

## Slide 10
TF
b6
TF
b6
HQ02a
HQ03a

## Slide 11
HQ02a
HQ03a
b3
a3
b3
a3

## Slide 12
HQ02a
HQ03a
b4
a4
b4
a4

## Slide 13
HQ02a
HQ03a
b5
a5
b5
a5

## Slide 14
HQ02a
HQ03a
b6
a6
b6
a6

## Slide 15
Summary
Geometric field harmonics in the magnet body are generally comparable between HQ02 and HQ03:
  b3/a3 are smaller in HQ03 and have smaller axial variation by factor ~2, but still of order few units
  a4 fairly large in HQ03 (-4 units)
  Some higher order harmonics appear large (b5, a4, a8) – continue to examine these and looking for correlation with conductor placement in magnet cross-section.
Persistent current fields in TF, b6 seem similar in HQ02 and HQ03
Dynamic effects in b3/a3 during ramp smaller in HQ03 than in HQ02 (cable core nominally same). These also have reversed sign in the two magnets.
Tests of magnetic shims are planned to test possibility of correcting some amount of field errors with this technique

## Slide 16
Additional slides

## Slide 17
Eddy Current Effects in Un-allowed Harmonics While Ramping
Presence of eddy current effects here and in some other un-allowed harmonics
When ramping stops, these effects decay relatively quickly with a time constant of ~3-4s.
Time (s) from 1000A Upramp flattop
60s flattop
‘Stairstep’ measurement to examine ramping effects
Current vs. Time
Ramping stops
Ramping resumes
a3

## Slide 18
Time dependence of b6 at injection plateau in HQ02
Probe radius 23.5mm (limited by warm bore tube size)
Area of detail
About 0.5 units b6 change over 20 min.
Fast decay when arrive on porch
Drift during porch is comparable to dynamic component while ramping
‘Snap-back’ is therefore very small
b6 vs I
b6 vs t
b6 vs I

## Slide 19
HQ02a
HQ03a
b7
a7
b7
a7

## Slide 20
HQ02a
HQ03a
b8
a8
b8
a8