## Slide 1: Mu2e Remote Handling Review Radiological Issues
Tony Leveling
March 3-4, 2015

## Slide 2: Outline
Facility radiation dose rates (sans major sources)
  PS Room
  Remote Handling Room
Major radiation sources
Air flow
  During operations
  During remote handling operations
Contamination sources
Radiation Protection – entry controls
Operating notes
Summary
Note: All radiation dose units are in the format mrem/hr (mSv/hr)

## Slide 3: Elevation View
7.6’
9.3’
16’
17’
Production
solenoid
Transport
Solenoid
(not shown)
Drop
hatch
Beam
Dump
24’

## Slide 4: Plan view - Facility radiation dose rates (sans major sources)
50 (0.5)
100 (1)
250 (2.5)
25 (0.25)
5 (0.05)
5 (0.05)
0.5 (0.005)
0.02 (0.0002)
0.01 (0.0001)
At beam elevation – 7.6’ from the floor
SS door
hourly dose rates
at wall surfaces
365 d irr., 7 d cooling
0.8 (0.008)
0.2 (0.002)
0.3 (0.003)
Source: V. Pronskikh
MARS run129
If a concrete door is substituted for
The SS door, dose rate at door would
be similar to the RHR wall
16 (0.16)
1 (0.01)
0.04 (0.0004)
0.04 (0.0004)
0.5 (0.005)
Robot staging area

## Slide 5: Plan view - Facility radiation dose rates (sans major sources)
At floor elevation
1.6 (0.016)
0.01 (0.0001)
5 (0.5)
0.5 (0.005)
3 (0.03)
1 (0.01)
5.8 (0.058)
0.4 (0.0004)
0.05 (0.0005)
0.02 (0.0002)
0.2 (0.02)
0.005 (0.00005)
0.1 (0.0001)
0.005 (0.00005)
0.03 (0.0003)
0.01 (0.0001)
0.01 (0.0001)
hourly dose rates
at floor surfaces
365 d irr., 7 d cooling
0.2 (0.002)
Source: V. Pronskikh
MARS run129

## Slide 6: Plan view - Facility radiation dose rates (sans major sources)
Robot
preparation zone
Robot setup
Significant preparation time in yellow zone
Several people
Several shifts
Significant collective dose in 16 mrem/hr (0.16 mSv/hr field)
Change door from SS to concrete to reduce collective dose

## Slide 7: Major Sources – tungsten target
Tungsten target
460 Ci (1.7E13 Bq)
1350 isotopes
330,000 rem/hr (3.3 kSv/hr) @ contact
210 rem/hr (2.1 Sv/hr) @ 1 foot
19 rem/hr (0.19 Sv/hr) @ 1 meter
In situ
Tungsten target is well shielded by the HRS
Small dose contributor to end cap region
Little to no effect on dose rates in the PS room
Source: V. Pronskikh
MARS

## Slide 8: Major sources – end cap & vacuum window
In situ end cap @ contact
32 rem/hr (321 mSv/hr)
Vacuum window @ contact
Separated from PS
1 to 7 rem/hr
(10 to 70 mSv/hr)
Source: V. Pronskikh
MARS run129
Preliminary results based upon a previous end cap design
The latest design has 10 x thinner windows
Vacuum window dose rate should be lower!

## Slide 9: Major Sources – beam dump (beam entrance face)
Source: V. Pronskikh
MARS run129
30 rem/hr (300 mSv/hr) at contact
2 to 3 rem/hr (20 to 30 mSv/hr)
6’

## Slide 10: Air flow during operation – supply air comes from a common source
800 cfm
Air flow decay path
800 cfm supply
air to beam dump
Air dam w/HEPA filter
Air dam
100 cfm supply
air to RHR
Leakage paths
Air pressure in DS room
to exceed pressure in PS room
Ensures activated air does not
enter the DS room

## Slide 11: Air flow during target change out – horizontal scheme
Normally closed doors
0 cfm supply
air to beam dump
Air dam open for coffin moves
Air dam
~500 cfm supply
air to RHR
Leakage paths

## Slide 12: Air flow during target change out – vertical scheme
air duct
Fan
Air dam with
HEPA filter
Air flow
Air flow
Control of air flow for the vertical scheme requires this additional fan and duct. The duct
could also be employed for the operational mode and the horizontal scheme.
Fan must be placed away from PS magnetic field

## Slide 13: Surface Contamination Sources – RHR
Contamination issues in the Remote Handling Room are very unlikely unless the robot tracks it in
  Engineered controls for ventilation limit activated air infiltration from the PS room
  Used targets and vacuum window should never be returned to the RHR
  AD ES&H department radiation protection group will monitor/control traffic between the PS and RH rooms to prevent spread of contamination

## Slide 14: Surface Contamination Sources – Production Solenoid Rm
PS room surfaces
  0.5 to 250 mrem/hr
  Experience-based relationship exists between:
    the possibility of surface contamination on walls and floors and
    residual dose rates of those surfaces
  AD checks for surface contamination on floors when residual dose rate exceed 100 mR/hr (1 mSv/hr) @ 1 foot from beam line components
  Measureable contamination is nominally not expected until ~500 mR/hr (5 mSv/hr) @ 1 foot from components
  Expect mild contamination at the west wall surface at 7.6’ from floor (~nCi/100cm2)

## Slide 15: Surface Contamination Sources – beam dump
Supply air is filtered and dried
Exhaust air velocity 33 ft/min (10 m/min)
Air cooling flow is around the outside surfaces of the 1.5 m x 1.5 m x 2 m mass
Air mixing between steel plates is not prevented
  Main air flow is over surfaces with lowest specific activity
Dump steel is to be painted, no rusted surfaces
Peak temperatures should not lead to thermal degradation of paint
Paint on entrance surface could eventually become radiation damaged
Albedo trap should provide fallout region for any air-entrained particulates

## Slide 16: Surface Contamination Sources – beam dump
Primary emission for exhaust should be
  C11
  N13
  O15
  Other short-lived isotopes
  Ar41
Be7 will be produced as spallation product in air
  Primarily deposited in HEPA filter at air dam
Other gaseous isotopes will pass through the HEPA filter
  Directed to exhaust stack for decay during transit time
Expect contamination in the albedo trap, but contributes very little to general surface contamination in the PS room

## Slide 17: Surface Contamination Sources
End cap and vacuum window
  Expect surfaces to be contaminated
    Multiple nCi/100 cm2
  Would not expect contamination from these surfaces to spread except by physical contact

## Slide 18: Surface Contamination Sources
Target
  460 Ci (1.7E13 Bq) after 1 year of operation
  Expect extremely contaminated target surface
  Extreme care required for target handling
  Post operation surface condition is difficult to predict
    Could range from reasonably intact to friable
    Target coatings could
      increase emissivity
      Reduce target temperature
      Reduce impact of poor vacuum
    PS vacuum
      Major factor
Target coating | Yes | No | No | Yes
PS vacuum quality* | Good | Good | Poor | Poor
Severity of contamination | bad | worse | Really awfully bad | worse to TBD
*poor vacuum > 1E-5 Torr > good vacuum

## Slide 19: Surface Contamination Sources
Target handling considerations
  prevent physical shock & rough handling
  provide robust containment for target outside of PS
    containment should accommodate a broken target, spokes, etc.
    Catch basin, e.g., plastic bag, SS box, sticky pad, or similar to capture target detritus
    Minimize air movement
  move target into full containment as soon as practicable
  Move target/containment to target coffin
Target coatings are promising, however
  Coating degradation could eventually lead to
    Target hot spots
    accelerated corrosion
  Good vacuum quality remains a high priority

## Slide 20: Radiation Protection - Entry controls for the PS Room
Once mu2e beam operations begin, entry into the PS room will be under the exclusive control of the AD ES&H department radiation protection group
Work will be controlled by radiation work permit
Work is planned by target station engineers
Approval of work is by AD RSO, or in exceptional cases, by the Fermilab Senior Radiation Safety Officer
Pace of work is controlled by AD ES&H personnel
  ES&H ensures adherence to:
    radiological check points
    radiation dose control
    contamination control

## Slide 21: Operating Notes - Aisle for coffin loading
The dose rate in the aisle for the coffin position < 1 mrem/hr
Staging/manipulating target/window coffins in the aisle is completely feasible for the horizontal scheme

## Slide 22: Operating Notes – robot storage during operation
Majority of the robot structure may reside in RHR
  Absorbed dose calculation is Si sample is 60,000 to 230,000 rad/year (0.6 to 2.3 kGy/y) (V. Pronskikh, MARS)
  We typically assume service life degradation at 10,000 rads (100 Gy) for electronics
  Radiation resistant LVDTs and resolvers remain on the machine
  Electronic components are removable by quick disconnect cables prior to beam operation

## Slide 23: Operating Notes – PS Room Access
It should be possible to shield the major sources in the PS room to allow personnel access
  Stack shielding across PS window
    Lift truck
    3’ X 3’ X 6’ C blocks
  Stack concrete shield in front of beam dump entrance
  Such temporary shield arrangement would permit
    PS alignment
    Other off normal maintenance/repair activity
    robot assistance

## Slide 24
Yellow box indicates remote
handling equipment service area
Prompt dose rate 0.1- 3 mrem/hr
Occupancy at the discretion of AD ES&H
Requires radiation work permit
Operating Notes – vertical scheme service building access

## Slide 25: Summary
Radiological parameters for the mu2e facility are within the range of experience and expertise of the Fermilab staff
Handling of the irradiated tungsten target will require extraordinary care considering its activity (460 Ci) and potentially fragile nature
Application of concrete shields at the PS window and beam dump should permit personnel access to the PS room under supervision of AD Radiation Protection Personnel