## Slide 1: PXIE Operational Readiness
John Anderson Jr.
PIP-II Machine Advisory Committee
9-11 March 2015

## Slide 2: Overview
Safety Regulations and Requirements
Three Safety Significant Project Phases
Requirements for Each Phase
Summary

## Slide 3: Safety Regulations and Requirements
Regulations
  Occupational Safety & Health Administration (OSHA)
    10 CFR 1910 General Industry Safety Requirements
    10 CFR 1926 Construction Safety Requirements
  Occupational Radiation Protection 10 CFR 835
  Safety of Accelerator Facilities DOE O 420.2C
    DOE G 420.2-1A Implementation Guide
Fermilab Implementation
  Fermilab Environment, Safety and Health Manual (FESHM)
  Fermilab Radiological Control Manual (FRCM)
Requirements provide an integrated approach to hazard controls

## Slide 4: Project Phases
Three safety significant phases of operations
  LEBT, RFQ, MEBT
    Beam energy < 2.1 MeV
  HWR, SSR1, HEBT
    Beam energy 10 – 25 MeV
  PIP-II
    Beam energy 800 MeV
    Integrates into existing accelerator complex
Safety requirements escalate at each phase

## Slide 5: LEBT, RFQ, MEBT
Beam energy under neutron production threshold
  No radiological concerns from operations
Operations covered under 10 CFR 835, 1910, and FESHM
Requirements
  Hazard Analysis (HA) of proposed operations
  Operational Readiness Clearance (ORC) Review
    SMEs review installation for compliance with FESHM
  Division Head Authorization for Commissioning and Operations

## Slide 6: HWR, SSR1, HEBT
Beam energy creates a radiological area
Operations covered under 10 CFR 1910, DOE O 420.2C, FESHM, and FRCM
Requirements
  PXIE enclosure meets an exemption in DOE O 420.2C
  HA for proposed operations
  Oxygen Deficiency Hazard (ODH) analysis
    Cryogenic Safety Review
  Radiation Shielding Assessment
    Preliminary Shielding Assessment already completed
  Configuration management of interlock systems and radiation shielding
  ORC Review
  Division Head Authorization for Commissioning and Operations

## Slide 7: PIP-II
Beam energy creates a radiological area and PIP-II linac integrates into the existing complex
Operations covered under 10 CFR 1910, DOE O 420.2C, FESHM, and FRCM
Requirements
  Unreviewed Safety Issue Determination
    Already completed
  Project Hazard Assessment Document
  Preliminary Shielding Assessment
  Oxygen Deficiency Hazard (ODH) analysis
    Cryogenic Safety Review

## Slide 8: PIP-II
  Radiation Shielding Assessment
  Safety Assessment Document
    Approved by Director
    Concurrence from DOE Fermi Site Office (FSO)
  Accelerator Safety Envelope
    Approved by Director and FSO Manager
  Accelerator Readiness Review (ARR)
    Readiness review by external SMEs
  Closeout of ARR Pre-Start Findings
  Division Head Authorization for Commissioning and Operations

## Slide 9: Summary
Fermilab has an established ES&H organization
  PIP-II Project integrated with the ES&H organization
ES&H Regulations well understood
Laboratory processes in place to manage each phase of the project
  Contractor Assurance Program
  Safety Configuration Management
  ORC Committee
  Shielding Assessment Review Subcommittee
  SAD Review Subcommittee
  ARR Process in place

## Slide 10: Thank you