## Slide 1: g-2 Experiments: From Brookhaven to Fermilab
Academic Lecture Series
10/2/2013
Chris Polly

## Slide 2: Outline for today
Recap experimental principles from Lee’s talk
Statistical precision
Data collection and precision fitting
Controlling systematics in the ωa analysis
Conclusions

## Slide 3: Outline for today
Recap experimental principles from Lee’s talk
Statistical precision
Data collection and precision fitting
Controlling systematics in the ωa analysis
Conclusions
Intersperse some lessons learned in BNL g-2 and contrast BNL with FNAL as we go

## Slide 4: Goal for this talk
A little less of this…

## Slide 5: Goal for this talk
And more of this…

## Slide 6: Principles from Lee’s talk
Place polarized muons in known magnetic field, measure precession
  Muon mass 200x electron -> 40,000x more sensitive to higher mass exchanges
  Makes up for incredible precision of ae
Can naturally get a nearly 100% polarized muon source by capturing highest (or lowest) energy muons

## Slide 7: Principles from Lee’s talk
Inject beam into storage ring instead to measure aμ directly
g=2
g>2
Since g = 2.0023… gain factor of 800 for free in aμ precision relative to at rest expts
Use magic momentum to allow vertical focus
  ϒ=29.3, pμ = 3.094 GeV/c

## Slide 8: Principles from Lee’s talk
Parity violation in muon decay results in highest energy decay positrons being emitted in direction of underlying muon spin
No need to directly observe the muon spin, just look for a modulation in the energy spectrum of decay positrons

## Slide 9: Principles from Lee’s talk
Apply cut on energy, bin data in time, ‘wiggle’ plot emerges for ωa

## Slide 10
Interesting Aside: CERN muon g-2 experiments were initiated in 1958 by Leon Lederman to answer the question of whether the muon was really a 'heavy electron'.
“There he started the famous g-2 experiment and managed to confuse it so badly that it took 26 physicists nineteen years to finish.”
Leon's Unauthorized Autobiography
http://history.fnal.gov/autobiography.html
Same principles used in CERN III, BNL, and FNAL
Often referred to as ‘textbook’ due to all the underlying fundamental principles that conspired to give us this window into the quantum world

## Slide 11: Statistical Precision

## Slide 12: Statistical precision
Since g-2 is all about statistical precision and this is an ‘academic lecture’…a quick aside for statistics nuts
Same equation as above but redefined to be a pdf and being careful to note that the number density and asymmetry are energy-dependent

## Slide 13: Cramer-Rao Lower Bound
Really cool theorem in parameter estimation called the Cramer-Rao lower bound (CRLB)
  Basically says that for any unbiased estimator there exists a lower bound on the variance of an estimated parameter
  Furthermore, that lower bound can be calculated from by inverting the Fisher discriminant

## Slide 14: Compare CRLB with MLE for g-2 frequency
Simplify calculation since only correlated parameters matter and N, τ, and A are not correlated with ω
Extract CRLB for ω:
Comparison to prior expression:

## Slide 15: Aside on J-PARC g-2
There is a very clever proposal by our Japanese colleagues to do g-2 in way very different that the magic momentum technique
  Run at a much lower momentum, use MRI-style magnet with better field
  Eliminate vertical focusing by use a ultra-cold muon beam
  Would be great to have a 2nd experiment with completely different systematics
  Relativistic gamma is 3 instead of 29.3
  A is reduced since reaccelerated muon start with 0% polarization, can throw away half to get to 50%
  The FNAL experiment plans to measure ~2e11 muons

## Slide 16: Maximum Likelihood Fit Achieves the CRLB
By definition, the efficiency of a parameter estimation is defined relative to the CRLB
Can also derive that a maximum likelihood estimate (MLE) will achieve the CRLB
Might conclude that MLE is the best way to fit the g-2 data

## Slide 17: MLE and g-2
Some practical difficulties with MLE
  The functions n(y) and A(y) are not really known. Start out calculable from V-A in muon rest frame and boosting back to lab, but then perturbed by real world acceptance and resolution effects
  With 2e11 samples expected at FNAL (1e10 at BNL) computationally intense to explore parameter space
  No goodness-of-fit criteria comes directly with MLE
Instead we bin the data and use least-squares estimation, a.k.a. χ2 fits

## Slide 18: Compare CRLB with LSE for g-2 frequency
Start with the same functional form as before, except not a pdf

## Slide 19: Statistics wrap-up
In the end, just a mathematically rigorous way of saying something somewhat intuitively obvious
  If you bin the data and integrate over A(y) then you lose some statistical precision
  Error is about 10% larger
Can now imagine at least 3 ways of fitting the data
  One fit integrated over A(y) > threshold, turns out 1.8 GeV maximizes statistical power
  Many fits in individual bins of energy, y
  One fit with the data weighted by your best guess at A(y)
  All have different sensitivities to systematic errors
*Error in theoretically perfect world where acceptance was 100% for all y and perfect resolution

## Slide 20: Statistics wrap-up
Why torture you with all of the math?
Because for many, this is part of the allure and challenge of precision experiments.
Not being able to take anything for granted leads to numerous intellectual challenges
*Error in theoretically perfect world where acceptance was 100% for all y and perfect resolution
In the end, just a mathematically rigorous way of saying something somewhat intuitively obvious
  If you bin the data and integrate over A(y) then you lose some statistical precision
  Error is about 10% larger
Can now imagine at least 3 ways of fitting the data
  One fit integrated over A(y) > threshold, turns out 1.8 GeV maximizes statistical power
  Many fits in individual bins of energy, y
  One fit with the data weighted by your best guess at A(y)
  All have different sensitivities to systematic errors

## Slide 21: Another example
How do we know this isn’t a biased estimator?
  Turns out it is!
If it is biased, how much?
  Not enough to worry at BNL precision, still needs to be revisited for FNAL
Should we use Fk or Nk in the denominator?
  Used Nk at BNL because it is simpler and was mathematically proven to be OK, but a linear combination ends up being the minimum bias

## Slide 22: Pages 2 and 3 from Sergei Redin’s 16 pg note on the matter

## Slide 23: Contrast BNL/FNAL: Statistics
Bring E821 storage ring and associated equipment to Fermilab
Modify anti-proton complex to provide intense, high-purity beam of 3.094 GeV/c muons
Upgrade select subsystems to meet requirements for rates and systematics
Scientific goal is 4-fold reduction in error relative to BNL
  Increase stats x 21 to reduce stat error from 0.46 ppm to 0.1 ppm
  Reduce systematics ωa on from 0.2 ppm to 0.07 ppm
  Reduce systematics ωp on from 0.17 ppm to 0.07 ppm

## Slide 24: Contrast BNL/FNAL: Rate Requirements
Achieving required statistics is a primary concern
- Need a factor 21 more statistics than BNL
- Beam power reduced by 4
Need a factor of 85 improvement in integrated beam coming from many other factors
- Collection of pions from lens
- Capture of decay muons in high density FODO channel
- pπ closer to magic momentum
- Longer decay channel
- Increased injection efficiency
- Earlier start time of fits
- Longer runtime
Ratio of beam powers BNL/FNAL:
4e12 protons/fill * (12 fills / 2.7s) * 24 GeV
1e12 protons/fill * (16 fills / 1.3s) * 8 GeV
= 4.3

## Slide 25: Collecting the data

## Slide 26: Recall from Lee’s talk we inject a single muon bunch (~1e5 muons/injection)
yoke
coil

## Slide 27: Data record in a single calorimeter at BNL
Inject muons at t=0
Calorimeter PMTs gated off due to hadronic flash
  Pions/protons entering ring with muons create blinding flash of light at injection
Fits cannot start until >20 μs in any case due to some beam manipulations going on in the ring and the time constant for kicker eddy currents to subside
Large pedestal in detectors near injection point
Decay electron signals riding on pedestal
Not really any PID, other than wash of low energy stuff creating pedestal, only muons and decay electrons (few protons)
  Muons are MIPs, well below threshold at BNL

## Slide 28: First step…pulse-fitting
BNL used two 200 MHz WFDs, sampling out of phase
  Align with marker pulse
  Calibrate relative gain of two WFDs
Pulse fit to pulse-shape library to extract (Ei,ti) of event accounting for the average electronic ringing in a particular calorimeter

## Slide 29: First step…pulse-fitting
A lesson learned at BNL…
How would you fit for (E,t)?
Assume uncertainty on bin height is +/-1 ADC count?
Assume uncertainty scales with sqrt(ADC)?

## Slide 30: First step…pulse-fitting
Contrast BNL/FNAL
FNAL using 500 MHz, single-phase WFDs
SiPM readout of PbF2 Cerenkov signals, fast and stable

## Slide 31: Controlling systematic errors on ωa

## Slide 32: Fast Rotation
Injected bunch width is <149 ns time for muons to go around the ring
  Muons come in clumped and will slowly dephase due to dp/p
Can see in plot above the fast rotation structure with the longer wavelength aμ wiggle superimposed
Actually a good feature, can extract the momentum spread of the stored muons

## Slide 33: Fast Rotation
Very hard to fit though
  Not in 5 parameter function
  Hard to pin down the envelope at the precision needed for getting a good χ2.
Two solutions employed
  Randomize time of each fitted event by +/- 149 ns
  Bin the data in 149ns bins

## Slide 34: Early-to-late effects
Experimental goal of 0.07 ppm systematic uncertainty
  Must remove all biases from the fitting procedure
# high energy positrons versus time
BNL 2001 run
Dominant feature:
f is the phase between the spin and momentum at the beginning of the fit.
*Pilfered from Brendan Casey

## Slide 35: Early-to-late effects
Leading systematics come from time dependence in the phase
Taylor expansion:
Things that change “early to late” in the fill typically lead to a time dependence in the phase of the accepted sample that directly biases the extracted value of wa
*Pilfered from Brendan Casey

## Slide 36: Two examples of early-to-late errors
Pileup: two low energy positrons fake a high energy positron
(happens early, not late)
calo
momentum
spin
Df
Gain change:
example: saturation (happens early, not late)
Above thresh. early
Above thresh. late
calo
Df
Design not driven by absolute performance, but relative stability early to late
*Pilfered from Brendan Casey

## Slide 37: Correcting for gain changes
BNL experiment had a laser calibration system, but could not reached required stability
Contrast BNL/FNAL:
- Much more stable laser system being developed
Ended up using endpoint of decay electron spectrum
  Good because it scales with stats
  Can only be binned in g-2 periods
  Endpoint sensitive to pileup

## Slide 38: Gain changes
Corrections over months of running
  Can see degradation of detector 5 in hadronic flash region
  Jumps in detector 12 are due to relative calibration of 4 PMTS
Contrast BNL/FNAL:
- No hadronic flash at FNAL
- Pions decay in >1 km beamline (compared to 80m at BNL)
- Protons removed by circulating in Debuncher long enough to kick out

## Slide 39: Important part is ‘early-to-late’ correction
Corrections for gain applied within measurement window

## Slide 40: With all these corrections, must be ready to start fitting?
Not even close!
Black points show reduced χ2 as a function of when fit is started using 5 parameter fit
Allowed deviation in is sqrt(2/d) and because of 149ns binning, d numbers in the thousands
Black points are unacceptable 50σ
5-parameter fitting function is pitifully inadequate
What is still missing
  Obtain red after correcting for pileup
  Obtain green after including coherent betatron oscillations
  Obtain blue after including muon losses

## Slide 41: Actual fitting function
Beam relaxation
Vertical breathing
3 CBO terms
Muons lost from ring
Note, no pileup term since correction is constructed (like gain)
Many more terms for Sergei to understand analytically 
Every effect is intellectually challenging and every factor of 2 increase in statistics results in sensitivity to higher-order effects
Luckily, these terms only weakly not couple to ωa, but we consider an acceptable χ2 as a necessary condition

## Slide 42: Pileup correction
Pileup can be resolved in if dt<5ns
Reconstructed by looking in side window around main pulse
Complicated due to hardware and software thresholds
  Example in asymmetric wings
  Would really rather look in windows further out but BNL trigger only kept a few samples to either side of pulse

## Slide 43: Pileup correction
Contrast BNL/FNAL:
- Segmented detectors
- Faster WFDs
- Full data record kept
6 x 9 crystal array
16cm
22 cm
14 cm

## Slide 44: Muon losses
Muons can hit collimators or other material, lose energy, and spiral out of ring
Able to reconstruct at BNL by looking for triple coincidence on hodoscopes attached to front of calorimeters
Double coincidence no good due to upstream calorimeter spraying downstream hodoscope

## Slide 45: Muon losses
A lesson learned at BNL…
In part of the 2000 run at BNL the radial field in the magnet was set incorrectly…beam too high in aperture…losses large

## Slide 46: Muon losses
11 independent tracking stations
5 mm straws
UV doublets at 7.5°
Contrast BNL/FNAL:
- In vacuo straw trackers being developed (B. Casey Early Career)
- Will give much better beam diagnostics, much more timely
- Also, calorimeters will be able to reconstruct muons without need for triple coincidence

## Slide 47: Coherent Betatron Oscillations
Electrostatic focusing causes beam to ‘swim’ and ‘breathe’ horizontally and vertically
Can calculate expected frequencies based on strength of electric field…n value
Creates time-dependent detector acceptance effects
  Big impact on χ2, but little impact on ωa

## Slide 48: Coherent Betatron Oscillations
Another lesson learned at BNL
- In 1999, statistics first significantly surpassed CERN III, but still 1/10th or so of final stats
- Started to see effect in data where detectors on two halves of ring got different results
- By 2000 run, data was practically screaming there was some kind of problem
1999 L. Duong Thesis
2000 F. Grey Thesis

## Slide 49: Coherent Betatron Oscillations
- Turns out that the difference frequency between the horizontal CBO and the cyclotron frequency were almost exactly at the 2nd harmonic of ωa
- Effect cancels when summing all detectors, but it is a clear example of how higher statistics helps one discover new effects
- Part of what make a higher stat version of g-2 so critical

## Slide 50: Many systematics have a characteristic time constant

## Slide 51: Many systematics have a characteristic time constant
Many data-driven consistency checks
Can see here what happens in one detector if gain is uncorrected vs over-corrected by a factor of two

## Slide 52: ωa Systematic Requirements
Overall, ωa systematics need to be reduced by a factor of 3
- Some errors were data-driven, precision of corrections scales with statistics
- Environmental improvements by changing run conditions, e.g. no hadronic flash
- Many hardware and analysis-driven improvements detailed in parallel sessions

## Slide 53: ωp worthy of a whole extra lecture
Overall, ωp systematics need to be reduced by a factor of 2.5
- Better run conditions, e.g. temperature stability of experimental hall, more time to shim magnetic field to high uniformity, smaller stored muon distribution
- Also many hardware and simulation driven improvements detailed in parallel sessions

## Slide 54: Outlook
Primary scientific goal of FNAL experiment
- Reduce experimental error on aμ by factor of 4
- If current discrepancy persists, significance will be pushed beyond 5σ discovery threshold
- Motivates further theoretical improvement
Citations to E821 remain high
arXiv:1010:4180
Results from E821

## Slide 55: How does a single number experiment support so many dissertations?
Analysis structure of 2001 BNL data
Absolutely critical to have independent analyses from the very bottom up
  Were it not for the separate BNL and Illinois productions it is not clear how long it would have taken to discover the pulse-fitting lesson
Every factor of 2 in statistics brings new challenges
Independent analyses of ωa and ωp are crucial
  Analyzers allowed to make own decisions, consistency amongst all required at end of day to gain confidence
  Analyses can be structured to have very different systematic sensitivities

## Slide 56
17 PhDs produced at BNL
Just as many postdoc analyses
Fermilab experiment will require even more
  Increased precision
  Longer run time
  More sophisticated analyses
  Trackers will open up whole new realm of analyses
  Field requires more effort than BNL

## Slide 57: Why does one more decimal place appeal to you?
gμ = 2.002 331 841 78 (126)

## Slide 58: Why does one more decimal place appeal to you?
gμ = 2.002 331 841 78 (126)
exp
{

## Slide 59: Why does one more decimal place appeal to you?
gμ = 2.002 331 841 78 (126)
exp
{
{

## Slide 60: Why does one more decimal place appeal to you?
gμ = 2.002 331 841 78 (126)
exp
{
{
{
e
e

## Slide 61
gμ = 2.002 331 841 78 (126)
exp
{
{
{
e
e
2 331 694 36 (0)
QED

## Slide 62
gμ = 2.002 331 841 78 (126)
exp
{
{
{
e
e
2 331 694 36 (0)
138 60 (98)
Hadronic
* Hadronic corrections for the electron
g-2 don't show up until the 12th decimal

## Slide 63
gμ = 2.002 331 841 78 (126)
exp
{
{
{
e
e
2 331 694 36 (0)
138 60 (98)
3 08 (4)
Electroweak

## Slide 64
gμ = 2.002 331 841 78 (126)
exp
{
{
{
e
e
2 331 694 36 (0)
138 60 (98)
3 08 (4)
Electroweak

## Slide 65
aμ - aμ = 287 (80) x 10-11
exp
thy
2005
2011
Theory
2005 BNL PhD
?