## Slide 1: Federating ATLAS storage using XrootD (FAX)
Rob Gardner
on behalf of the atlas-adc-federated-xrootd working group
Computation and Enrico Fermi Institutes
University of Chicago
OSG All Hands Meeting
March 11, 2013

## Slide 2: Data federation goals
Create a common ATLAS namespace across all storage sites, accessible from anywhere
Make easy to use, homogeneous access to data
Identified initial use cases
  Failover from stage-in problems with local storage
    Now implemented, in production on several sites
  Gain access to more CPUs using WAN direct read access
    Allow brokering to Tier 2s with partial datasets
    Opportunistic resources without local ATLAS storage
  Use as caching mechanism at sites to reduce local data management tasks
    Eliminate cataloging, consistency checking, deletion services
WAN data access group formed in ATLAS to determine use cases & requirements on infrastructure

## Slide 3: Implications for Production & Analysis
Behind the scenes in the Panda + Pilot systems:
  Recover from stage-in to local disk failures
  This is in production at a few sites
Development coming to allow advanced brokering which includes network performance
  Would mean jobs no longer require dataset to be complete at a site
  Access “diskless” compute sites
Ability to use non-WLCG resources
  “Off-grid” analysis clusters
  Opportunistic resources
  Cloud resources

## Slide 4: Testing elements
Starting week of January 21, we’ve been following a bottoms-up approach which builds stability in lower layers
Will review progress in each of the layers in this interim report
At-large users
HammerCloud & WAN-FDR jobs
(programmatic)
Network cost matrix (continuous)
Basic functionality (continuous)
Complexity

## Slide 5: Basic redirection functionality
Direct access from clients to sites
Redirection to non-local data (“upstream”)
Redirection from central redirectors to the site (“downstream”)
Uses a host at CERN which runs set of probes against sites

## Slide 6: Redirectors - regional and global
Service monitor

## Slide 7: Connectivity matrix
Survey revealed complex security dependencies on various voms and xrootd clients found at sites

## Slide 8: Data federated (1)
Top 100 sites used by ATLAS (bold=FAX accessible)
* Includes tape, which we do not federate
*
*

## Slide 9: Cost matrix measurements
Requires sites to install an XRootD server
Redirectors for each region (“cloud”)
Currently 32 sites, including EOS
Redirection network touches six clouds (DE, FR, IT, RU, UK, US) plus CERN
Redirectors ready for ES and Asia regions
Cost-of-access: (pairwise network links, storage load, etc.)

## Slide 10: Comparing local to wide area performance
Ping time (ms)
read time (s)
local
local
Each site can check its connectivity and IO performance for copy and direct read

## Slide 11: Hammer Cloud testing
Pre-placed, site-unique SUSY and Higgs datasets at all sites (see coverage next slide)
Realistic, typical analysis templates for SUSY D3PD maker and Higgs analysis
New pilot equipped for stage-in or direct access with XrootD
Choose ANALY queue, and redirector
Submission runs for (both modes):
  Phase 1: Local performance
  Phase 2: Nearby performance (e.g. within a cloud)
  Phase 3: Far-away performance

## Slide 12: Test dataset distribution
Both sets of test datasets distributed to most sites with small amounts of cleanup left.
These datasets will be used to gather reference benchmarks for the various access configuration

## Slide 13: Queue configurations
This turns out to be the hardest part
Providing federated XRootD access exposes the full extent of heterogeneity of sites, in terms of schedconfig queue parameters
Each site’s “copysetup” parameters seems to differ, and specific parameter settings need to be tried in the Hammer Cloud job submission scripts using –overwriteQueuedata
Amazingly, in spite of this there are a good fraction of FAX-functional sites

## Slide 14: First phase of HC tests: local access
HC run
  http://hammercloud.cern.ch/hc/app/atlas/test/20018041/
  HWW code with regular SMWZ input, FAX directIO, production version pilots
  This is for access to local data, but via direct access xrootd
Results:
  26 sites in the test
  16 sites with job successes
  3 sites where no job started/finished during test
  (CERN, ROMA1, OU_OCHEP_SWT2)
  1 site does not have input data (GLASGOW)
  1 site blacklisted (FZU)
  1 site used xrdcp instead of directIO (BNL)
  4 sites with 100% failures (EDCF, IHEP, JINR, LANCS)
  4 sites with job successes and failures
  (FRASCATI, NAPOLI, LRZ, RAL)
  LRZ experienced again xrootd crashes
  SLAC jobs finally succeed
Johannes, 3 weeks ago

## Slide 15: Systematic FDR load tests in progress
Choose analysis queue & FAX server sites, #jobs, #files
Choose access type: copy files or direct ROOT access (10% events, 30 MB client cache)
Record timings in Oracle @ CERN
Adapted WAN framework for specific FDR load tests

## Slide 16: Systematic FDR load tests in progress
Individual job lists +
links back to Panda logs
Drill down

## Slide 17: Systematic FDR load tests in progress
US cloud results

## Slide 18: Controlled site “load” testing
Two sites being in IT cloud read by jobs running at CERN

## Slide 19: Federated traffic seen in the WLCG dashboard

## Slide 20: FAX WLCG dashboard
Thanks to dashboard team at CERN IT-ES

## Slide 21: Federation traffic
Modest levels now
will grow when in production
Oxford and ECDF switched to xrootd for local traffic
Prague users reading from EOS
Co-located Tier 3 client  Tier 2 server

## Slide 22: ATLAS throughputs (from US)
FAX traffic a tiny fraction of the total ATLAS throughput (for now)

## Slide 23: FAX by source cloud

## Slide 24: FAX by destination cloud

## Slide 25: Conclusions
The FDR has been a good exercise in exposing a number of site & system integration issues
  Site specific client differences  limited proxy check not always working
  Non-uniform copysetup parameters in schedconfig for sites
  Lack of fault checking in the rungen script for read failures
  Tweaks necessary to brokering to allow sending jobs to sites missing datasets
In spite of this, much progress:
  New functionality in the pilot to handle global paths without using dq2-client & forcing python 2.6 compatibility at all sites
  First phase of programmatic HC stress testing nearing completion (local site access)
  Some FAX accesses from Tier 3s
  Test datasets in place
Next steps
  Programmatic HC stress tests for regional data access (Phase 2)
  Address remaining integration issues above & continue to validate sites
  Recruit, acquire feedback from early-adopting users
  Outsource monitoring services where possible to WLCG, including central UDP collectors, availability probes, etc.
  Global and Rucio namespace mapping, dev. of new N2N module
  Set a timeframe for an ATLAS requirement of federating xrootd services at sites

## Slide 26: Thanks
A hearty thanks goes out to all the members of the atlas-adc-federated-xrootd group, especially site admins and providers of redirection & monitoring infrastructure
Special thanks to Johannes and Federica for preparing HC FAX analysis stress test templates and detailed reporting on test results
Simone & Hiro for test dataset distribution & Simone for getting involved in HC testing
Paul, John, Jose for pilot and wrapper changes
Ilija for FDR testing framework and site-by-site testing
Wei for doggedly tracking down xrootd security issues & other site problems & Andy for getting ATLAS’ required features into xrootd releases