## Slide 1: Time Calibration System for RF Cavity Breakdown Measurements
Juan Takase
Northwestern University
SIST INTERN Fermi National Lab
08/04/2015

## Slide 2: Overview
Background of Experiment
Current need and system for calibration
Design

## Slide 3: BACKGROUND
https://www.fnal.gov/pub/presspass/vismedia/gallery/buildings.html

## Slide 4: RF Cavity
Induced electromagnetic field accelerates a charged particle as it goes through
http://www.linearcollider.org/ILC/GDE/Director%27s-Corner/2010/17-June-2010---Superconducting-RF-cavity-industrialisation

## Slide 5: Breakdown
During a break down, electrons from one side of the cavity go through the space between the cavity walls to the other side.
Releases a flash of light
RF electric signal
RF power feed signal
RF power reflected signal
Breakdown light signal

## Slide 6: Lightning
http://blogs.ft.com/photo-diary/tag/lightning/

## Slide 7
http://blogs.ft.com/photo-diary/tag/lightning/

## Slide 8: Measurements
Due to the different paths the data must take during measurements. The data arrive at the oscilloscope slight offset.
This can make it difficult to analyze the physics because precise correspondence is necessary.

## Slide 9: CURRENT NEED
A time calibration system to resolve the cable arrival time delays
  Generation of a signal into both optical and electrical tracks
  Analyzing the difference in arrival time to resolve the arrival delay during experimental measurements.

## Slide 10
Current timing calibration
Laser head
4-channel
function generator
Digital Oscilloscope
(for coarse calibration)
Current Method

## Slide 11: Delay Exists
(20 ns/division)
Voltage (V)
Time (s)
Electrical Signal
Optical Signal
Coarse alignment is possible
Precise alignment is difficult to do consistently
Only one pair of channels can be calibrated at a time

## Slide 12: Project
Design a system to take calibration measurements more quickly than the current method.
Resolve this arrival time delay precisely and consistently by calculating the difference in arrival times.

## Slide 13
DESIGN

## Slide 14: Hardware
Multiple tracks can be calibrated at once.
Cylindrical shape reduces asymmetrical noise
20 cm
15 cm

## Slide 15: Inside look of design

## Slide 16: Program
Inputs data of varying styles easily.
Outputs of relative delays for easy interpretation.
The user is not required to “go into the code”
Software of choice: Matlab
Allows for a variety of loading options
Allow for graphical displays
Allows the use of programmable dialog boxes for data and parameter inputs

## Slide 17: Data Input

## Slide 20: Delay Table

## Slide 22: Sources of Error
Threshold voltage deviation
  Time cross deviation
  Alleviated with precise inspection of LED
  1ns deviation
Time cross calculation uses the average
  Caused by noise near the crossing point.
Temperature
  LED has a lower threshold with rising temperature.
  Cables of large length undergo thermal expansion, which affect measurements

## Slide 23: Conclusion and Futurework
Present
We were able to develop a design proposal for a measurement device to collect multiple tracks of calibration data at once
Developed a program to analyze multiple data types returning a table of delays that is easy to read.
Future
Build device
More efficient program (style/language)

## Slide 24: Thanks
Supervisor Katsuya Yonehara, and the rest of the group
Mentor Mayling L Wong-Squires
SIST Committee
Fermi National Lab
Jackie Chan

## Slide 25: Questions?

## Slide 26: Why Jackie Chan?

## Slide 27: References (pictures mainly)
RF Cavity:
  http://newsline.linearcollider.org/images/2010/20100617_dc_1.jpg
Lightning
  http://blogs.r.ftdata.co.uk/photo-diary/files/2013/07/Lightning.jpg